## Sheet1
ID | FITTING | FITTING TYPE | FITTING LETTER | SHAPE | NAME | input 1 | input 2 | input 3 | input 4 | dropdown 3 | output 1 | output 2 | output 3 | output 4 | A_1b/Ac or A_2b/Ac | C
A11W | A-11 | Diverging Junctions (Tees, Wyes) | W | Rectangular | Symmetrical Wye Dovetail | H (in) | W_c (in) | branch area/main area | Qc (cfm) | 0.5 | Loss Coefficient | Fitting Loss (in w.c.) | Velocity (Vₒ, fpm) | Vel Pres. at Vₒ (Pv, in. wc) | 0.5 | 0.3
A11W | A-11 | Diverging Junctions (Tees, Wyes) | W | Rectangular | Symmetrical Wye Dovetail |  |  |  |  | 1 |  |  |  |  | 1 | 0.25